SECTION 09 96 23

GRAFFITI-RESISTANT COATINGS

GENERAL

SUMMARY

Section Includes: Anti-graffiti and anti-soiling sacrificial protective coating for almost any surface to protect from paint tagging and soiling.

Related Sections: Related sections include the following:

Place related sections

DEFINITIONS

Anti-graffiti/Anti-soiling Coating, Sacrificial: A fully reversible polysaccharide film made from the flour of milled seeds and simple sugars.

SYSTEM DESCRIPTION

A materials-compatible highly vapor permeable surface protection that may be completely removed as desired without damage to the substrate it is applied to. Install over almost any clean and sound surface.

Anti-graffiti/Anti-soiling Coating, Sacrificial: A food grade non-toxic polysaccharide-based reversible anti-graffiti and anti-soiling protection applied to any porous or non-porous surface. Forms an nearly invisible protection against salts intrusion, bird droppings, insects, paints, oil based stains, and air contaminants yet remains highly vapor permeable. Allows natural patina to evolve on exposed ferrous metals. Completely safe for humans, animals, and the environment. Do not apply to walking or climbing surfaces as film is slippery when wet. Graffiti is removed along with the sacrificial coating with hot water spray and reapplied to form a new protective film.

SUBMITTALS

Product Data: Submit product data showing material proposed. Submit sufficient information to determine compliance with the Drawings and Specifications. Provide published documentation describing materials, characteristics, and limitations.

Samples:  Submit samples for verification purposes, fabrication techniques and workmanship.

Manufacturer's Instructions:  Submit manufacturer’s instructions including technical data sheets, material safety data sheets, mixing instructions, application requirements, special procedures, and conditions requiring special attention.

LEED Submittals: Submittals that are required to comply with requirements for LEED certification include the following:

Low Emitting Materials:  Submit certification by the manufacturer confirming that products (i.e., adhesives, sealants, paints, coatings, etc.) meet or exceed the volatile organic compound (VOC) limits set by specific agencies or other requirements.  Clearly state VOC limits in the submittal.

QUALITY ASSURANCE

Qualifications:

Manufacturer Qualifications:  Provide evidence that Manufacturer is a firm engaged in the manufacture of silicate coatings of types required, and whose products have been in satisfactory use in similar service for a minimum of ten years.

Applicator Qualifications:  (BELOW, KEEP ONE AND DELETE THE OTHER)

Provide evidence Applicator is a firm having a minimum of three years of successful application experience with projects similar in type and scope to that required for this Project, and having passed a product certification training course provided by the manufacturer prior to the execution of this unit of work.

Provide evidence Applicator is a firm having successful application of products within this specification with at least one project in the last 18 months similar in type and scope to that required for this Project, and having passed a product certification training course provided by the manufacturer prior to the execution of this unit of work.

Mock ups:  Prior to application of the work, fabricate and erect mock ups for each type of finish and application to verify selections made under sample submittals and to demonstrate aesthetic effects as well as qualities of materials and execution.  Build mock ups to comply with the following requirements using materials indicated for final unit of work.  Locate mock ups as directed by the Architect.  Demonstrate the proposed range of aesthetic effects and workmanship to be expected in the completed work.  Obtain the Architect’s acceptance of mock ups before start of final unit of work.

Retain and maintain mock ups during construction in undisturbed condition as a standard for judging completed unit of work.

DELIVERY, STORAGE, AND HANDLING

Deliver materials to the Project site in supplier’s or manufacturer’s original wrappings and containers, labeled with manufacturer’s name, material and product brand name, and lot number, if any.

Store materials in their original undamaged packages and containers inside a well-ventilated area protected from weather, moisture, soiling, extreme temperatures, and humidity.

PROJECT CONDITIONS

Environmental Requirements:

Substrate and ambient air temperature must be between 41 °F (5 °C) and 95 °F (35 °C).  Maintain temperature during and after application.

WARRANTY

Product warranty from date of Substantial Completion is 1 year.

PRODUCTS

MANUFACTURERS

Basis of Design:  Items specified are to establish a standard of quality for design, function, materials, compatibility, performance, warranty, and appearance. The Architect is the sole judge of the basis of what is equivalent.

KEIM Mineral Coatings of America, Inc., 10615 Texland Blvd. #600, Charlotte, North Carolina 28273. Telephone 704-588-4811. Email keim-info@keim.com.

MATERIALS

Anti-graffiti/Anti-soiling Coating, Sacrificial: A viscous gel made of food-grade polysaccharides with non-toxic preservatives and antioxidants that when applied forms an invisible sacrificial protective film upon drying. May be completely removed using hot water spray. Non-toxic. No VOC.

Basis of Design: “PSS 20”, KEIM Mineral Coatings of America, Inc.

EQUIPMENT

Tools:

Apply by airless spray. Clean up with water.

FINISHES

Apply full coverage coats without voids, “holidays”, or drips.

EXECUTION

EXAMINATION

Verification of Conditions:  Confirm by examination the areas and conditions under which the work is to be applied for compliance with manufacturer’s instructions.  Do not proceed with the work until unsatisfactory conditions have been corrected.

Verify substrate is secure and free of dirt, grease, release agents, curing agents, and other bond breakers.

Beginning of the work shall indicate acceptance of the areas and conditions as satisfactory by the Applicator.

PREPARATION

Protection: Lay ground cloths and take measures as necessary to protect surfaces subject to contact by products specified by this Section.

APPLICATION

Conform to reviewed product data, manufacturer's written instructions, and provisions of the Contract Documents.

Plan the work properly:

Work ahead of the sun or on shaded façades.

Work in good weather.

Anti-graffiti/Anti-soiling Coating, Sacrificial:

Extremely Porous Substrates such as sandstone:

Wet substrate with water. When dry to touch (damp dry) apply Anti-graffiti/Anti-soiling Coating. Water in pores prevents coating from absorbing into the substrate encouraging a strong film on the surface.

Apply three coats at a per-coat rate of approximately 6 ounces per 10 square feet (0.20 liters per square meter) for a total minimum quantity of 18 ounces per 10 square feet (0.60 liters per square meter).

Allow coats to dry to touch between applications. Coating may be immediately exposed to graffiti.

Porous Substrates such as concrete:

Wet substrate with water. When dry to touch (damp dry) apply Anti-graffiti/Anti-soiling Coating. Water in pores prevents coating from absorbing into the substrate encouraging a strong film on the surface.

Apply three coats at a per-coat rate of approximately 5 ounces per 10 square feet (0.15 liters per square meter) for a total minimum quantity of 15 ounces per 10 square feet (0.45 liters per square meter).

Allow coats to dry to touch between applications. Coating may be immediately exposed to graffiti.

Alkalinity of new concrete may yellow anti-graffiti. Rinse coating with cold water without pressure to restore invisible appearance.

Non-Porous Substrates such as plastic or steel:

Clean water repellent surfaces with neutral cleaner concentrate diluted 1:50 (one part neutral cleaner concentrate to fifty parts water.)

Surfaces must be completely dry.

Apply two coats at a rate of approximately 5 ounces per 10 square feet (0.15 liters per square meter) for a total minimum quantity of 10 ounces per 10 square feet (0.30 liters per square meter).

Allow coats to dry to touch between applications. Coating may be immediately exposed to graffiti.

CLEANING

Clean tools, spills, and accidental drips immediately with plenty of water.

Leave applications clean and premises free from residue and debris from work of this Section.

END OF SECTION